Matzlab group meeting 26/03/2025 Minutes:

Urgent: Daan & Dennis take picture for the Emergent feature

Daan,

- Will conduct more noise analysis and time-lapse (bacteria)

- Repeat bead-based phase//pixel-displacement calibration

- Measure C. Albicans

- Explore phase cleanup (together with Matz)

Emmanuel,

- The old piezo amplifier is working

- The opAmp based amplifier yields 10V

- Will focus on estimating differential phase measurements and noise therein

- Fibre couple green light (515 nm, from Pharos) and repeat

- Get ready for ultrafast pump-probe imaging

Dennis,

- Water+BSA experiments seem to have failed, no oscillations (Matz will also look at data)

- We would like to know where the large signal before time-zero comes from: conduct experiments at 500, 1000 and 1500 Hz laser rep rate?

- Measure PS beads@glass in air and in water, repeating the work done in the Imaging Centre

- Can we see oscillations in water?

Ting & Brian,

- Matz will ask Freek to get access to Renishaw

- “Fast” Au-colloids seem to yield poor Raman signal, Ag-based particles are ready and will be tested

- Sort out high density measurement, then measure with highNA objective to collect “best possible” Raman spectra (borrow Daan’s objective)

- Time delay across image might cause problems with signal retrieval when integrating a large area

- Start moving towards “interesting” analytes (Matz will order)

- It would be good to upgrade the acquisition software to measure faster (Matz will have to look into this)